机电产品国际招标

招标文件

The bidding documents forICB of

Mechanic & Electronic Products

（第二册）

(Volume	Two)

招标编号/ Tender number：0613-254122244208

项目名称/Project name: 质谱成像系统

货物名称/Goods name:Mass Spectrometry Imaging System

招标人名称： 上海创新药物研发中心

Tenderee: Shanghai Innovative Drug Research and Development Center

招标机构：上海机电设备招标有限公司

Tendering Agent: Shanghai Machinery&Electric Equipment Tendering Co.,Ltd.

2025-8

上海机电设备招标有限公司 廉洁自律公约（2020年修订）

Anti-Corruption Agreement

Shanghai Machinery Complete Equipment (Group) Co., LTD

(Version 2020)

为贯彻落实中央八项规定的精神，不断增强招投标人员廉洁自律意识，牢筑防腐思想防线，提高拒腐防变能力，根据中央有关廉洁自律准则规定，上海机电设备招标有限公司（以下称，甲方）结合工作实际，特制定本公约。参加本招标项目的投标人（以下称，乙方）也应遵守本公约。/ For implementation of 8 provisions set by the Central Committee of CPC, continuously strengthening consciousness of integrity and self-discipline of tendering staff, to fortify the thought of anti-corruption and to improve such ability, Shanghai Machinery Complete Equipment (Group) Co., LTD (hereinafter referred as “Party A”) prepared this Agreement hereinafter in combination with practices and in compliance with relevant provisions on integrity and self-discipline set by the Central Committee of CPC. All Bidders (hereinafter referred as “Party B”) attending this project on bidding will comply with this Agreement strictly as well.

- 甲乙双方应当共同遵守法律法规，自觉树立良好的职业道德，强化服务意识、诚实守信、

秉公办事，自觉践行本公约。/ I. Both parties will comply with relevant laws and regulations together to consciously implement proper vocational ethics and strengthen consciousness of service. Both parties will consciously implement the Agreement hereof with honesty and integrity.

二、甲方人员不得暗示、索要或接受乙方的礼金、礼券、消费卡，以及各种有价证券和支付凭证；不得向乙方报销个人费用；不得利用职权或者职务谋取私利。/ II. Any employee of Party A may not imply, ask or accept any cash gifts, gift vouchers, consumable cards and any other forms of securities or payment vouchers from Party B. The employee of Party A may not obtain any compensation from Party B for personal expenses, and may not seek any personal benefits with jobbery.

三、甲方人员不得以任何方式和理由向乙方推荐其配偶、子女及其配偶等亲属和其他特定关系人参与本招标项目以及相关经营活动。/ III. In no ways and for no causes, any personnel of Party A may recommend any of its spouse, children and relevant relatives or any other special relatives to participate in the project on bidding or any other relevant business operations.

四、甲方人员不得接受可能影响其公正执行公务的乙方宴请或者旅游、健身、娱乐等活动安排。/ IV. Any personnel of Party A may not accept any feast invitations or activities of tour, fitness, entertainment etc arranged by Party B, which may impact fair implementation of affairs.

五、乙方人员不准以任何形式向甲方人员馈赠礼金、礼券、消费卡，以及各种有价证券和支付凭证；不得接受甲方报销个人费用的要求。/ V. Any employee of Party B may not present any cash gifts, gift vouchers, consumable cards and any other forms of securities or payment vouchers to any employee of Party A in any form. The employee of Party B may not accept any ask for compensation from Party A for personal expenses.

六、乙方人员不准以任何方式和理由接受甲方人员推荐其配偶、子女及其配偶等亲属和其他特定关系人参与本招标项目以及相关经营活动。/ VI. In no ways and for no causes, any personnel of Party B can not accept any recommendation from any employee of Party A for relevant spouse, children and relevant relatives or any other special relatives to participate in the project on bidding or any other relevant business operations.

七、乙方人员不准邀请甲方人员参加有可能影响其公正执行公务的宴请或者旅游、健身、娱乐等活动。/ VII. Any personnel of Party B may not invite any employee of Party A to any feast or activities of tour, fitness, entertainment etc which may impact fair implementation of affairs.

八、甲乙任一方人员存在违反本公约行为的，应当依法作出相应的处分；或者甲乙任一方人员存在违反法律法规情形的，应当追究法律责任；乙方人员存在前述情形之一的，将被取消本项目的投标资格。/ VIII. Any personnel of Party A or Party B, if violates the Agreement hereof, will be punished according to relevant regulations. Any personnel of Party A or Party B have violations of laws or regulations, it will be investigated for legal responsibilities. The qualification of Party B as bidder to this project shall be cancelled in case of any above violations from its employee.

第五章投标邀请

Section 5.  Invitation for Bids

日期/ Date:：2025-8

上海机电设备招标有限公司（以下简称：招标机构）受上海创新药物研发中心（以下简称：招标人）委托，对下述货物进行国际公开竞争性招标，我们竭诚欢迎合格投标人参加投标。

/Shanghai Machiner Complete Equipment(Group) Co., LTD(hereinafter called ”the Tendering Agent”), authorized and on behalf of Shanghai Innovative Drug Research and Development Center(hereinafter called ”the Tenderee“), We cordially welcome eligible bidders for the supply of following goods by way of International Competitive Bidding.

1、招标条件 / Bidding Conditions

项目概况/Project Overview： 上海创新药物研发中心拟采购质谱成像系统。Shanghai Innovative Drug Research and Development Center plans to purchase a Mass spectrometry imaging system

现招标人资金已到位，具备了招标条件。/Now Funds have been put in place, the Project is with the bidding conditions.

2、招标内容

招标编号/ Bid No.：0613-254122244208

招标项目名称：质谱成像系统

/ Project Name：Mass spectrometry imaging system

项目实施地点： 上海创新药物研发中心。

/Place of Implementation：Shanghai Innovative Drug Research and Development Center.

招标产品清单 / List of Products:

| 序号/ No. | 货物名称/ Name of the goods | 数量/Quantity | 简要技术规格 /Main Technical Data | * 交货期 / Delivery schedule |
| --- | --- | --- | --- | --- |
| 1 | 质谱成像系统 | 1套 | 后电离激光束MALDI-2可通过软件做自动切换，切换时间≤1分钟，可以根据需求在两种电离方式间做自由选择：MALDI或MALDI-2 | 合同签订后6个月内。/ CIP Shanghai within 6 months after signing the contract. |

- 投标人资格要求 /Qualification Requirements For Bidder：

- 具有独立的法人资格，相应的经营范围。

1) With independent legal person qualification, the corresponding business scope.

2)必须提供所投产品的生产商针对本次招标项目出具的独家授权书。

2) must provide the cast product exclusive authorization letter issued by the producer for the project subject to tender.

3) 投标人提供的投标机型应是原产地的全新产品；

3) Provide bidders bidding models should be the origin of new products;

4)参加本次招标活动前3年内，投标人在经营活动中没有违法记录，无利用不正当竞争手段骗取中标，无行贿犯罪记录；

4）To participate in the bidding activities before three years, the bidder does not break the record in business activities, no using to defraud the bidding by means of unfair competition, no bribery crime record;

4、本次招标不接受联合体投标。/ Joint Bids is not Available.

未领购招标文件是否可以参加投标：不可以。/Bid without the bidding documents：Not Available.

5、招标文件的获取 / Acquisition of Bidding Documents

招标文件购买时间：2025年8月14日至2025年8月21日，每天（节假日除外） 9 时至 11时 30 分，13时 30 分至 16时（北京时间）

/Time of Selling Bidding Documents：from 2025-8-14to 2025-8-21, the deadline at working time 9:00-11:30,13:30-16:00 (Beijing Time).

招标文件发售地点：上海市长寿路285号恒达广场16楼（上海机电设备招标有限公司）

/Pace of Selling Bidding Documents: 16/F Hengda Plaza 285 Changshou Road, Shanghai (Shanghai Machiner.Complete Equipment(Group)Co.,LTD)

招标文件售价：每套售价：500元人民币，或90美元，中国境内邮购另加邮资 60 元人民币，中国境外邮购另加邮资 60 美元，售后不退。

/Price of Bidding Documents: RMB500, or USD 90for each set.  For mail order, the document will be sent at additional cost of RMB 60 (for domestic delivery) or USD 60 (for overseas delivery).

线上报名方式：请潜在供应商登陆中招联合招标采购平台（http://www.365trade.com.cn/）完成供应商注册。完成注册后，在“我的工作台—>寻找招标项目”模块处找到本项目并点击“立即投标”按钮进行报名及购标等操作。具体操作方法详见帮助中心的“投标人操作手册”。写明申请购买项目的名称，提供报名单位名称、具体项目联系人的联系方式（姓名、手机、地址及邮箱）发送至邮箱jeffshen09@163.com，收到邮件回复后，请完整填写《购标书登记表》并电汇缴纳标书款。

/Online registration method: potential suppliers specify the name of the project to be purchased, provide the name of the registration unit and the contact information (name, mobile phone, address and email) of the contact person for the specific project, and send them to email jeffshen09@163.com. After receiving the email reply, please complete the "Registration Form for Purchase Bidding Document" and pay the bidding document by telegraphic transfer.

6、投标文件的递交 / Bid Submission

投标截止时间/开标时间：2025年9月4日10时00分（北京时间）

/Deadline for Submitting Bids/Time of Bid Opening：2025-9- 4,10:00(Beijing Time)

投标文件送达地点：上海市长寿路285号恒达广场10楼

/Pace of Bid: 10/F Hengda Plaza 285 Changshou Road, Shanghai

开标地点：上海市长寿路285号恒达广场10楼

/Pace of Bid : 10/F Hengda Plaza 285 Changshou Road, Shanghai

7、联系方式 / Contact Details

招标人名称： 上海创新药物研发中心

/Name of Tenderee ：Shanghai Innovative Drug Research and Development Center

招标人地址：上海

/Address ：Shanghai

联系人/Attention：艾克老师/Mr.AI KE

电话/Tel：021-64035268

招标机构名称：上海机电设备招标有限公司

/ Name of the Tendering Agent ：Shanghai Machiner Complete Equipment (Group)Co., LTD

地址：上海市长寿路285号恒达广场16楼

/ Address ：16/F Hengda Plaza 285 Changshou Road, Shanghai

邮政编码/ Postcode：200060

联系人：张洁玮 沈飏 宋 怡

/Attention:   Jiewei Zhang Yang Shen Songyi

电话/Tel：86-21-32557719；021-32557775

传真/Fax：86-21-32557505

电子信箱/ E-mail:jeffshen09@163.com

- 汇款方式 / Remittance Approach

收款人名称：上海机电设备招标有限公司

SHANGHAI MACHINERY COMPLETE EQUIPMENT (GROUP) CORP., LTD.

收款人地址：上海市普陀区长寿路285号18楼

18/F Hengda Plaza 285 Changshou Road Shanghai China

帐号：316638-03002790962        SWIFTCODE：BOSHCNSH

开户行名称：上海银行白玉支行

BANKOFSHANGHAI BAIYU BRANCH

开户行地址：上海市徐汇区肇嘉浜路798号

NO.798 Zhaojiabang Road Shanghai China

注：

一，为提高效率，鼓励投标单位用“网银转账、贷记凭证或电汇”的支付方式

二，请务必分笔支付“标书费，保证金，中标服务费”

三，在汇款附言中请务必注明：“ 招标编号 + 用途 ”

（示例：254122244208	  标书费）

（示例：254122244208	  保证金）

（示例：254122244208	  中标服务费）

四，我司保证金退还事宜，统一在每周一办理，一般1-2个工作日到账

投标人应当于招标文件载明的投标截止时间前在中国国际招标网（以下简称“招标网”，网址：http://www.chinabidding.com）成功注册（免费）。否则，投标人将不能进入招标程序，由此产生的后果由其自行承担。

第六章投标资料表

Section 6．Bid Data Sheet

本章关于要采购的货物的具体资料是对“第一章投标人须知”的具体补充或修改，如有矛盾应以本投标资料表为准。

/Specific information in this section for goods to be procured complements or modifies the Instructions to Bidders in Section 1. In case of contradictions, this Bid Data Sheet shall govern.

| 条款号 | 内容 |
| --- | --- |
| 1.2 | 招标人名称： 上海创新药物研发中心 /Name of Tenderee ：Shanghai Innovative Drug Research and Development Center 招标人地址：上海 /Address ：Shanghai 联系人/Attention：艾克老师/Mr.Ai Ke 电话/Tel：021-64035268 招标机构名称：上海机电设备招标有限公司 / Name of the Tendering Agent ：Shanghai Machiner.Complete Equipment(Group)Co.,LTD 招标机构地址：上海市长寿路285号恒达广场16楼 / Address ：16/F Hengda Plaza 285 Changshou Road, Shanghai 邮政编码/ Postcode：200060 联系人/Attention:/张洁玮、沈飏、宋 怡 电话/Tel：86-21-32557719；021-32557775 传真/Fax：86-21-32557505 电子信箱/ E-mail:jeffshen09@163.com |
| 1.3 | 项目概况/Project Overview： 上海创新药物研发中心拟采购质谱成像系统。Shanghai Innovative Drug Research and Development Center plans to purchase Mass Spectrometry Imaging System 资金性质/Funds：财政资金； |
| 6.1 | 潜在投标人对招标文件如需要求澄清，请在开标前十日前以书面形式一次性发给招标机构，传真至：021-32557505，并发E-mail（Word版)至：jeffshen09@163.com。 The Bidder requiring any clarification of the bidding documents may notify the Tendering Agent no later than 10 days before the deadline of bid submission，Fax：021-32557505；E-mail（Word）：jeffshen09@163.com. |
| 8.1 | 投标语言：中文 / Language of Bid: Chinese |
| *10.3 | 本项目只允许投标人提供一个投标方案，否则，其投标将被否决。/This project is only allowed the bidder to provided a bid proposal, otherwise, the bid will be rejected. |
| 11.2 | 本次招标允许的缺漏项比重为投标总价的5%。如有缺漏项，以其它有效标中该项的最 高价为计算依据。/ The proportion of missing items allowed is 5% of the total bid price. If any missing, the highest price of the same item in other effective tenders will be calculated on the basis. |
| *11.4 | 本次招标不接受选择性报价。/Alternative bid is not permitted. 本次招标不接受附加条件的报价。/Bid price with additional condition will not be accepted. |
| 11.5 | *本次招标最高投标限价：1900万人民币。 / This tender set a maximum bid limit.：RMB 19,000,000.00Only. 当各包件投标总价和各品目单价（当招标文件规定有暂定金额时，投标总价中应当包含此暂定金额）超过相应的最高投标限价时，将对其该包件投标直接作否决处理。 （如投标报价由多种货币构成，评标委员会将以首次招标公告发布日中国银行总行首次发布的报价外币相对于人民币的现汇卖出价计算。） （对于符合国务院关税税则委员会发布《中华人民共和国进出口税则(2025)》的公告等规定的原产于美国的产品，报关产生的税费由中标人承担，并计入各包件的投标总价。） When the package bid price (when there is a provisional amount by the tender documents, bid price) should be included in the provisional amount exceeds the highest bidding price of corresponding package, will be rejected directly to the package and bid process. (e.g., tender offer by a variety of currencies, the bid assessment committee will be released for the first time a tender announcement day of the first release of the headquarters of the bank of China offer foreign currency relative to the spot selling rate for RMB calculation.). |
| 11.6.1 | 从中华人民共和国关境内提供的货物 /for goods offered within customs territory of PRC： 1）关境内制造的货物/formanufactured Goods of the customs territoryof PRC ① *出厂价（包括主机和标准附件及质保期内的备品备件价格，并需单列所含的增值税 和消费税（如有））/ EXW（Including the cost of the Basic Machine and Standard Accessories, spare parts during the warranty period, the Value Added Taxes and Consumption Taxes(if any) must be listed separately.） ②提供货物运至最终目的地的关境内运输、保险和伴随货物交运的有关费用；请单独报价并计入投标总价；/ The Bidder shall provide the priceof inland transportation, insurance, and other local costs incidental to delivery of the goods to their final destination. This price shall be listed separately and included in the Total Bid Price. ③其他伴随服务费用：包括专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. ④提供质保期满后运行 1 年所需的备品备件的清单和价格，请单独报价但不计入投标总价，并承诺该价格在质保期满后 5 年内不变。/ The bidder shall provide a list withprice of the spare parts during 1 year after the warranty period according to Ex Works standard. This price shall be listed separately, but not be included in the Total Bid Price. The bidder shall commit that this price of the spare parts shall not change within 5 years after the warranty period. 2）投标截止时间前已经进口的货物/The goods has been imported before the deadline for submission of bids ① *仓库交货价（包括主机和标准附件及质保期内的备品备件价格，并需单列所含的进 口环节税、增值税和消费税（如有）） / EX-Warehouse（Including the cost of the Basic Machine and Standard Accessories, spare parts during the warranty period, the Import Taxes and Value Added Taxes and Consumption Taxes(if any) must be listed separately.） ②提供货物运至最终目的地的关境内运输、保险和伴随货物交运的有关费用；请单独报价并计入投标总价；/ The Bidder shall provide the priceof inland transportation, insurance, and other local costs incidental to delivery of the goods to their final destination. This price shall be included in the Total Bid Price. ③其他伴随服务费用：包括专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. ④提供质保期满后运行 1 年所需的备品备件的清单和价格，请单独报价但不计入投标总价，并承诺该价格在质保期满后 5 年内不变。/ The bidder shall provide a list withprice of the spare parts during 1 year after the warranty period according to Ex Works standard. This price shall be listed separately, but not be included in the Total Bid Price. The bidder shall commit that this price of the spare parts shall not change within 5 years after the warranty period. |
| 11.6.2 | 从中华人民共和国关境外提供的货物/ for goods offered from abroad ： 1）*CIP用户指定地点。报价包含进口环节中发生的一切费用如外贸代理服务费、清关费、仓储费、根据中华人民共和国法律法规在进口环节无法获得减免部分的税款等一切货物到项目现场的费用以及其他伴随服务费用(包括安装费用、专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费)。 /CIP to the designated location by the user. The quotation includes all costs incurred in the import process, such as foreign trade agency service fees, customs clearance fees, storage fees, taxes that cannot be exempted or reduced in the import process according to the laws and regulations of the People's Republic of China, and all other costs for the goods to reach the project site, as well as other accompanying service fees (including installation fees, special tool fees, training fees, technical service fees, and other accompanying service fees related to the execution of this contract). 注： 1)汇率波动风险承担归属:若因汇率波动，导致最终结算人民币金额超出采购限价超出部分由中标人自行承担。 2)关税加征责任承担归属:中标后，若因贸易摩擦等因素需对部分产品加征关税则加征部分的税金由中标人负责承担。“供应商若对上述条款未作出实质性响应，其投标将被视为无效。 Note: 1）Attribution of exchange rate fluctuation risk: In case that due to exchange rate fluctuations, the final settlement amount in RMB exceeds the procurement price limit, the excess amount shall be borne by the winning bidder on its own. 2）Attribution of liability for additional tariffs: After winning the bid, if additional tariffs need to be imposed on some products due to factors such as trade frictions, the additional tariff amount shall be borne by the winning bidder. If the supplier fails to make a substantive response to the above clauses, its bid will be regarded as invalid. 2）其他伴随服务费用：包括安装费用、专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of installation, cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. 3) 提供货物从进口口岸运至最终目的地的关境内运输、保险和伴随货物交运的有关费用，请单独报价且计入投标总价；/ The Bidder shall provide the priceof inland transportation, insurance, and other local costs incidental to delivery of the goods from the port to their final destination，This price shall be listed separately, and be included in the Total Bid Price. 4) 提供质保期满后运行 1 年所需的备品备件的清单和价格，请单独报价但不计入投标总价，并承诺该价格在质保期满后 5 年内不变。/ The bidder shall provide a list withprice of the spare parts during 1 year after the warranty period according to Ex Works standard. This price shall be listed separately, but not be included in the Total Bid Price. The bidder shall commit that this price of the spare parts shall not change within 5 years after the warranty period. |
| *12.1 | 投标货币（从中华人民共和国关境内提供的货物和服务）：人民币，且投标人应来自中华人民共和国关境内。 /Bid Currencies (for goods and services from within PRC) ：RMB，and The Bidder is from within PRC customs territory. |
| *12.2 | 从中华人民共和国境外提供的货物和服务的投标货币:国际流通货币。其投标货币即为合同项下的签约及支付货币，该投标人须注册地在关境外或保税区内的企业，投标人须直接与用户指定的代理签订外贸合同。如投标人不符合上述情况，需在投标文件中提供中标后委托签订合同的第三方单位名称，如不提供视同未响应。 The bidding currency for goods and services provided from outside thePeople's Republic of China: international circulating currency. The biddingcurrency is the currency for signing and payment under the contract. Thebidder must register an enterprise outside the customs or in a bonded zone.and must directly sign a foreign trade contract with the agent designated by Shanghai Innovative Drug Research and Development Center. 注：注地在境外的企业，若以人民币报价，还须同时具有人民币户、12位联行号。(若以美元或其他货币报价，在价格评议和签订合同时均以开标当日中国银行总行首次发布外币对人民币的现汇报价进行投标货币的转换。) For enterprises located overseas, if quoting imRMB, they must also have a RMB account and a 12 digit bank number.（If quoted in US dollars or other currencies, the bid currency conversion;hall be based on the current exchange rate of RMB in addition to thefirst published quotation by the head office of Bank of China on the dayof bid opening during price evaluation and contract signing.) |
| *13.1 | 本次招标不允许联合体投标。/ Joint Bids is not Available. |
| 13.3 | 1) 业绩清单及合同复印件或用户的书面证明（业绩要求见第五章的“投标人资格要求”）； / A performancelist and copy of the contract or the user written proof（Performance Requirements see the “Qualification Requirements For Bidder”in Section 5.）； |
| 14.3 | 1)货物从招标人验收后开始使用至质保期结束内正常、连续地使用所必须的备件和专用工具清单，包括备件和专用工具的货源及现行价格； / a list, giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the goods for the warranty period, following commencement of the use of the goods by the Tenderee; 2）技术支持资料的其他形式：制造商网站最新发布的资料打印件。 /Other Form of the supporting technical information：Data printouts latest released by the Manufacturer's website. |
| *15.1 | 投标保证金金额/ Bid Security： 不少于投标总价的 2%。/No less than 2% of the Total Bid Price. |
| *15.3 | 投标保证金货币、形式和有效期/Form and validity of the bid： （1）投标保证金可用投标货币或人民币。/ The Bid Security shall be denominated in the currency of the bid or in RMB. （2）境外投标人：银行保函（由一家在中华人民共和国境内或境外信誉好的银行用招标 文件提供的格式或招标机构接受的其它格式出具的银行保函或不可撤销的信用证）。 境内投标人：可以采用银行保函、现金、支票、银行汇票、银行本票、贷记凭证、电汇或网上支付形式中的任何一种，但不接受承兑汇票。境内投标人如以现金、支票、银行汇票、银行本票、贷记凭证、电汇或网上支付形式提交的，应当从投标人的基本账户转出。投标人需在投标文件中提供基本账户的开户许可证复印件并加盖公章。 The Bidder from abroad: A bank guarantee (issued by a reputable bank located inPRC or abroad, in the form provided in the bidding documents or another form acceptable to the Bidder). The Bidderwithin PRC:A bank guarantee, cash, check, bank drafts, cashier's check, certificate of credit, wire transfers, or onlinepayment form; But does not accept the acceptances. The Bidderwithin PRCsubmitted in the form of cash, check, bank drafts, cashier's check, certificate of credit, wire transfers, or onlinepayment; should betransferred from the basicaccount of the Bidder. The Bidder needs to provide the basicaccountopening permita copy ofthe tender documents and official seal. （3）投标保证金的有效期与投标有效期一致。/ The validity of the Bid Security consistent of the Period of Validity of Bids. （4）投标保证金的交付凭证（银行保函、支票、银行汇票、银行本票、贷记凭证、电汇或网上支付的底单的复印件）需装订在投标文件中。/ The deliverycertificate of the Bid Security (A copy of bank guarantee , check, bank drafts, cashier's check, certificate of credit, wire transfers, or onlinepayment) to be bound inthe tender documents. |
| *15.5 *15.6 | 投标保证金的退还及利息/Dischargedthe Bid Security and interest: （1）未中标的投标人的投标保证金，在招标机构发出《中标通知书》后5日内予以退还。 / Unsuccessful bidders’ bid security will bedischargedwithin five daysafter the Tendering Agent issue a Notification of Award to the Successful Bidder. （2）中标人的投标保证金，在中标人签订合同后的5日内予以退还。/ The successful Bidder’s bid security will be discharged within five days upon the Bidder signing the contract. （3）投标人的投标保证金采用银行保函形式递交的，招标机构将原额退还，不计利息。 / If the Bid Security with bank guarantee form, the Tendering Agent will be returned in its original amount, without interest. （4）投标人的投标保证金采用现金、支票、银行汇票、银行本票、贷记凭证、电汇或网 上支付形式提交的，招标机构将退还投标保证金本金及同期银行存款活期利息，利息从提交投标文件的截止之日算起（无效票据的除外）。/ If the Bid Security with cash, check, bank drafts, cashier's check, certificate of credit, wire transfers, or onlinepayment form, the Tendering Agent will be returned in its original amount and current interest of over the same periodbank deposits. Interest from the date of deadline for submission of bids. (except the invalid bills). （5）如投标人未在以上1）和2）款规定的时间内来招标机构办理退还投标保证金手续的， 则投标保证金的利息只计取到上述规定时间为止。/ If the bidder will not discharge the Bid Security in the the prescribed time above (1) and (2), the Bid Security interest is counted only to the prescribed time. （6）如投标人在以上1）和2）款规定的时间内办理退还投标保证金手续，但时间不超过 提交投标文件的截止之日10日的；或者投标保证金金额在人民币10万元（含10万元）以 下的；则都不计利息，只退还投标保证金本金。/If the bidder will discharge the Bid Security in the the prescribed time above (1) and (2), but time does notexceed the date of 10 days after deadline for submission of bids; or the Bid Security amount less than RMB 100,000.00 (include RMB 100,000.00); the Tendering Agent will be returned in its original amount, without interest. |
| 16.1 | 投标有效期/Period of Validity of Bids： 投标应自提交投标文件的截止之日起 90 日内保持有效。 / Bids shall remain valid for the period of 90 days from the Deadline for Submitting Bids. |
| 17.1 | 投标文件的份数/ Number of Bid：正本 1 份，副本 5 份/ One original and five copies.。 投标人应提供投标文件全部内容的电子文档1份（其中：制造商资格申明、制造商授权函、分项报价表及报价清单文件须为单独的扫描件），并密封在投标文件的正本内。/ The bidder shall prepare an electronic document sealed within the original bid, involving all contents of the bid（The Manufacturer's Qualification Statement, Letter of Authority from Manufacturer, Bid Schedule of Prices and list of Price must be Separate pieces of scanning）. |
| 17.2 | *投标文件的每一页都应由法定代表人或其授权代表用姓或首字母签字。/ Each page of the bid shall be initialed by the legal representative or a person or persons duly authoreized to bind the bidder. |
| 18.2 | 1）递交的地址/ Delivery Address：中国上海市长寿路285号恒达广场10楼 /10/F Hengda Plaza 285 Changshou Road，Shanghai，PRC。 |
| 18.2 | 2）项目名称、投标邀请的标题、编号/Project Name, The Invitation for Bids(IFB) title and e, ect Nae Requirements see the Section 5 "number： 上海创新药物研发中心质谱成像系统/0613-254122244208 |
| 18.4 | 如果投标文件未按本须知要求密封，招标机构将拒收。/ If the bid is not sealed and marked as required by ITB, the Tendering Agent will be rejected. |
| 19.1 | 投标截止日期/ Deadline for Submitting Bids： 2025-9-4 投标截止时间/ Time：10:00 北京时间/ Beijing time）。 |
| 22.1 | 开标日期/ Date of Bid Opening：2025-9-4 开标时间/ Time：10:00 （北京时间/ Beijing time）。 开标地点/ Place：中国上海市长寿路285号恒达广场10楼/ 10/F Hengda Plaza 285 Changshou Road，Shanghai，PRC |
| 23.1 | 本次招标的评标方法/ Evaluation Method：最低评标价法/ Lowest evaluated price method. |
| 24.5.2 | 技术评议过程中，有下列情况之一者，其投标将被否决。 2）一般技术条款超出允许偏离的最大范围 10 %或超出允许偏离的最多项数3项的。 /The bid will be rejected, if it is found having any of the following during the technical evaluation: 2）The deviations of the bid to the Technical Specifications without the mark of asterisk (*) which are not key ones, have exceeded the maximum range 10 % or the maximum deviation items 3 . |
| 25.1 | 评标货币：美金 ; 以开标当日中国银行总行首次发布的外币对人民币的现汇卖出价进行投标货币对美元的转换。/ Evaluation currency:USD； All the bid prices will be convertedinto the U.S. dollar by the first release of Foreign currency cash offer price of RMB at Bank of China on the date of bid opening. |
| 26.2 | 4）偏离加价：/ Increase The Bid Price for acceptable deviation: 对一般的商务条款和技术条款（参数）允许偏离，其评标价格为：以该设备投标价格为基准，每偏离一项增加该设备投标价格的百分之一（1 %）。投标文件中没有单独列出该设备分项报价的，按投标总价计算。 / The Evaluated Bid Price for acceptable deviation to the Commercial and Technical Specifications without the mark of asterisk (*) which are not key ones: Taking this Bid Price of the equipment as the base, The Evaluated Bid Price will be increased 1 % of the Bid Price of the equipment for each deviation. IF Bidding Document has not list this Bid Price of the equipment, take the total bid price as the base. 计算关境内产品和投标截止时间前已经进口产品的偏离加价时，应扣除投标报价中包含的相关税费，如投标文件中没有单独列出相关税费的，按投标总价计算。 5）在价格评议过程中，有下列情况之一的，其投标将被否决。 ① 投标人投标报价缺漏项超出投标总价的5%的； ② 缺漏项在投标总价的5%以内的，但投标人确认缺漏项不包含在投标价中的； ③ 缺漏项加价和偏离加价累计超出投标总价的 10 %的。 / The bid will be rejected, if it is found having any of the following during the price comparison: ① The proportion of missing items has exceeded 5% of the total bid price; 价；he d Schedule of Prices and list of Price must be ② The proportion of missing items has ≤5% of the total bid price, but the Bidder confirm this price of missing items is not be included in the Total Bid Price. ③The sum of Increase The Bid Price of missing items and for acceptable deviation have exceeded 10 % of the total bid Price. |
| 26.4 | 根据本须知第26.3条的规定，对本投标资料表中选定的 1、2、3、4、5评标因素，采用量化方法调整评标价格。 / For factor 1、2、3、4、5 retained in this Bid Data Sheet pursuant to ITB Clause 26.3, quantification methods will be applied, as detailed in the Bid Data Sheet. |
| 26.4.1 | 2）评标价中加入投标人提供的货物从进口口岸运至最终目的地的关境内运输、保险和伴随货物交运的有关费用。/The priceof inland transportation, insurance, and other local costs incidental to delivery of the goods from the port to their final destination which provided by the Bidderwill be adopted into the Evaluated Price. |
| 26.4.2 | 交货期：不允许偏离，任何偏离将导致投标被否决。/ Delivery schedule:No deviation is allowed. Any deviation will result the bid be rejected. |
| 26.4.3 | 付款条件：不允许偏离，任何偏离将导致投标被否决。/ Deviation in payment schedule：No deviation is allowed. Any deviation will result the bid be rejected. |
| 26.4.4 | 零部件和备品备件的费用 / Cost of components and spare parts:： 1)投标人应提供货物质保期内运行所需的零部件和备品备件的费用，并计入投标总价；如漏报，评标时将其它有效标中该项的最高价计入其评标总价。 /The Bidder shall provide a list withprice of components and spare parts during the warranty period, and sum them to the total price.If any missing, the highest price of the same item in other effective tenders will be adopted into the total price of the evaluated price. |
| 26.4.5 | 中国关境内的备件供应和售后服务设施：/ Spare parts and after sales service facilities in the PRC: 投标人在中国境内应有维修服务设施和零部件库存，如没有，应提出相应的售后服 务方案及费用，评标时计入评标价中。否则评标价上浮1%。 / The Bidder must have after-sale service facilities and spare parts in store in PRC. If haven’t, should provide the related plan and cost, this cost shall be added to the bid price. Otherwise, the evaluated price will rise 1 %. |
| 26.4.6 | 投标设备的预计运行和维护费用：不适用。 /Operating and maintenance costs: Not applicable. |
| 26.4.7 | 投标设备的性能和生产率：不适用。 Performance and productivity of the equipment: Not applicable. |
| 26.4.8 | 其他额外的评标因素和标准：不适用。 Other additional factors and criteria: Not applicable. |
| 26.5 | 中标候选人数量： 1 名 |
| 36.1 | 招标服务费 / Service Charge for Bidding： 中标人应按照下述规定向招标机构交纳招标服务费/ The successful bidder shall pay the service charge for bidding to the Tendering Agent as stipulated in following provisions. 1. 本项目的招标代理服务费由中标人在《中标通知书》发出后的30天内向招标代理机构一次性支付人民币伍万元整。/The bidding agency service fee for this project shall be paid in a lump sum of RMB 50,000 by the successful bidder to the bidding agency within 30 days from the date of issuance of the "Notice of Award". 2. 招标服务费币种与中标签订合同的币种相同，或以人民币支付（按开标日中国银行公布汇率卖出价折算）。/The Service Charge for Bidding shall be paid in the same currency in contract or in RMB (the selling exchange rate published by Bank of China on the date of bid opening will be used for converting prices). 3. 招标服务费的交纳方式 / Payment of Service Charge for Bidding： 1）在签约前按上述1)、2)、3)的规定，向招标机构交纳招标服务费。可用支票、汇票、电汇、现金等支付方式；或/ The Service Charge for Bidding shall be paid to the Tendering Agent in cashier’s check, B/D, pursuant to Bid Data Sheet Clause 36.1.1-3. 2）在签约前向招标机构送交中标服务费承诺书，承诺合同生效后30天内按规定的标准一次向招标机构缴清招标服务费。/A letter of commitment submitted to the Tendering Agent before signing of contract, promising to furnish the Service Charge for Bidding as required within thirty (30) days after the effective date of the contract. 4. 如果中标人不按照本规定及交纳招标服务费，将没收其投标保证金。 / Failure of the successful bidder to pay the service charge for bidding as required shall result in forfeiture of the bid security. |

第七章合同专用条款

Section 7. Special Conditions of Contract

本章《合同专用条款》是对第二章《合同通用条款》的具体补充和修改，如有矛盾，应以本合同专用条款为准。

Special Conditions of Contract complements and modifies section 2. General Conditions of Contract. In case of contradictions, this Special Conditions of Contract shall govern.

| 条款号 | 内容 |
| --- | --- |
| 1.1 | 买方名称/ Name of the Purchaser: |
|  | 卖方名称（中标人）/ Name of the Supplier (successfulBidder)： |
|  | 项目现场名称/地址 / 上海创新药物研发中心/上海 |
| 7.1 | 履约保证金：无/ Performance Security：None. |
| 11 | 目的港：上海机场 The port of destination/project site: Shanghai Airport |
| 16.1 | 应提供的伴随服务： 1. 提供货物维修所需的工具； 2. 为所供货物的每一适当的单台设备提供详细的操作和维护手册； 3. 在双方商定的一定期限内对所供货物实施运行或监督或维护或修理，但前提条件是该服务并不能免除卖方在合同保证期内所承担的义务； 4. 在项目现场就所供货物的安装、运行、维护和修理对买方人员进行培训。 Incidental Services to provide: 1. furnishing of tools required for maintenance of the supplied Goods; 2. furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods; 3. performance or supervision of maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and 4.training on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods. |
| 17.2 | 要求提供的备件： /Spare parts to provide: spare parts during the warranty period. |
| 18.4 | 免费维修或更换有缺陷货物或部件的响应时间： 卖方应在接到买方故障信息后24个小时内响应，并在2个工作日内到现场维修。 /Response of repairingor replacing the defective Goods or parts without costs to the Purchaser: After receiving the failure information from the Buyer, response is required to be made within 24 hours, and troubleshooting should be managed within 2 work-days. |
| 18.2 | 质量保证期：详见技术规格部分。 |
| 20 | 付款方法和条件： 1. 从中华人民共和国关境内提供的货物： 1.1 预付款：签订合同后15天内，预付合同总价的50%； 1.2 交货付款：工厂预验收合格发货前7天内，付合同总价的40%； 1.3 合同设备验收后的付款：最终验收合格后30天内，付合同总价的10%; 1.4 买方在银行发生的费用由买方承担，卖方在银行发生的费用由卖方承担。 2. 从中华人民共和国关境外提供的货物： 2.1合同签订后90天内，买方收到卖方银行提供的合同金额10%的正本履约保函后，买方通过电汇支付合同总金额的20%作为预付款。不适用 2.2合同签订后90天内，由买方开立以卖方为收益人的100％经卖方确认的不可撤销信用证，其中： 2.2.1合同总价的90%，凭货物发运单据议付； 2.2.2验收后付款：最终验收合格后30天内，支付合同总价的10%。 2.3在买方国内发生的银行费用由买方承担，在买方国家以外发生的银行费用由卖方承担。 /The method and conditions of payment: 1. goods offered from within PRC: 1.1 Within 15 days after the signing of the Contract, then pay 50% of the total contract value through T/T to the seller. 1.2 40% of the total contract will be paid within 7 days before the equipment is shipped. 1.3 Within 30 days after the final acceptance inspection, pay 10% 1.4 The bond service charge that occurs in the Purchaser’s is afforded by the Purchaser, or the other banking service charges that occur in the Supplier’s are afforded by the Supplier. 2. goods offered from abroad: 2.1 Within 90 days after the signing of the Contract, the Purchaser receives the performance bond (10% of the total contract price), then pay 20% of the total contract price. Not applicable. 2.2 Within 90 days after the signing of the Contract, the Purchaser opens an 100% of Irrevocable L/C in favor of the Supplier, 2.2.1 90% of the total contract will be paid after the equipment is shipped. 2.2.2 Within 30 days after the final acceptance, pay 10%. 2.3 All the banking charge incurred in Purchaser’s country should be borne by Purchaser, and banking charge incurred outside of Supplier’s country should be borne by Supplier. |
| *32.2 | 仲裁的地点和仲裁的官方语言： 仲裁应由中国国际经济贸易仲裁委员会（CIETAC）上海分会按其仲裁规则和程序在上海进行，仲裁的官方语言应为中文。 /Location and official language of Arbitration: Any dispute shall finally besettled by arbitration in Shanghai, under the Shanghai Branch of ChinaInternational Economic and Trade Arbitration Commission (CIETAC) in accordance with its arbitration rules/ procedures. Unless otherwise agreed, the official language of Arbitration shall be Chinese. |

第八章货物需求一览表及技术规格

Section 8. Schedule of Requirements and Technical Specifications

（注：本章内容如有与此前内容矛盾，以此内容为准！）

注：本章内容中凡标有“*”号的，均须无条件地满足，如果某个标题前标有“*”的，则该标题下的所有内容都须无条件地满足！

1、设备综述

1.1设备主要用途

能够在同一张组织切片上同时分析数百种甚至是数千种分子的空间分布特征，实现脂质、核酸、多肽、蛋白质等分子在生物体内的特异性空间分布。

1.2 设备配置清单

| 序号 | 名称 | 数量 |
| --- | --- | --- |
| 1 | 质谱主机系统 | 1台 |
| 2 | 代谢组学数据处理软件 | 1套 |
| 3 | 代谢数据库 | 1套 |
| 4 | 人代谢物数据库 | 1套 |
| 5 | NIST代谢数据库 | 1套 |
| 6 | 配套液相系统 | 1台 |
| 7 | 质谱成像启动包 | 1个 |
| 8 | 组织切片扫描仪 | 1台 |
| 9 | 基质喷雾仪 | 1台 |
| 10 | SCiLS Lab Pro软件 | 7年 |
| 11 | 连接液相和色谱柱毛细管 | 1个 |
| 12 | 零死体积喷雾针 | 1个 |
| 13 | 零死体积二通 | 1个 |
| 14 | 色谱柱连接工具包 | 1套 |
| 15 | 喷雾针连接工具 | 1套 |
| 16 | 过滤器 | 1个 |
| 17 | 样品浓缩靶板 | 1个 |
| 18 | 靶托 | 1份 |
| 19 | 基质 3-羟基吡啶甲酸（1g） | 1份 |
| 20 | 基质a-氰基-4-羟基肉桂酸（1g） | 1份 |
| 21 | 基质2,5-二羟基苯甲酸（1g） | 5份 |
| 22 | 基质芥子酸（1g） | 1份 |
| 23 | 多肽混合标准品 | 1份 |
| 24 | 蛋白混合标准品I | 1份 |
| 25 | 蛋白混合标准品II | 1份 |
| 26 | BSA标准品 | 1份 |
| 27 | 安装调试包 | 1个 |
| 28 | Hela酶解液 | 1瓶 |
| 29 | 整机移机服务 | 1次 |
| 30 | 载玻片 | 1盒（100片） |
| 31 | 成像工作站 | 2套 |

2、设备主要技术参数要求：

2.1 质谱仪包括ESI/MALDI 双离子源，可通过软件自动切换，无需拆卸更换，且MALDI成像/ESI离子源和质谱必须为同一厂家生产，确保整个设备的兼容性和售后服务统一性。

2.2 ESI和MALDI可通过软件全自动切换，切换时间≤1分钟，无需拆卸硬件；

2.3 ESI和MALDI都可以在正、负模式检测使用；

*2.4 后电离激光束MALDI-2可通过软件做自动切换，切换时间≤1分钟，可以根据需求在两种电离方式间做自由选择：MALDI或MALDI-2；

*2.5 MALDI离子源采用≥10kHz固体激光器，成像速度≥15像素点/秒；

2.6 MALDI激光源：长寿命固体激光，波长为355nm，10kHz，脉冲能量 ≥ 100 uJ

2.7 MALDI-2激光源：长寿命固体激光，波长为266nm，1Kz, 脉冲能量 ≥ 400 uJ

2.8 质谱仪可进行快速数据采集，成像速度至15 个方形像素/秒；

2.9 质谱成像空间分辨率：标准 20µm，增强 5-15µm；

2.10 ESI离子源采用逆向反吹干燥气体加热；

2.11 捕集型离子淌度可以将单电荷离子与多电荷离子完全分离开，在复杂蛋白组学分析时，可以屏蔽单电荷的干扰，得到更高质量的 MS2谱图。

2.12 非轴线型的气体辅助喷雾，可承受流速高达1 mL/min

2.13 玻璃毛细管，起到将大气压与真空系统隔离和产生电压差的目的

*2.14 具备离子淌度功能，可测定CCS值，离子淌度分辨率≥100

2.15 离子淌度分辨率可调节，超过三种不同的离子淌度分辨率模式可供选择

2.16 四极杆质量过滤器，质量范围20-3000m/z ，可用于母离子单同位素的选择，具有轴向直流电压梯度的CID碰撞池，宽质量范围设计，可调节碰撞气。

2.17 进样口喷针部分电压为零，利于HPLC的联接，安全可靠。

2.18 飞行时间质量分析器采用单次反射模式。

2.19 可正负离子切换，且飞行管配有先进的水冷恒温温控装置。

2.20 五级真空差动系统

*2.21 TOF分辨率：采用V模式条件，在45 Hz扫描速度下，可以保证分辨率 ≥100,000 FSR（1222m/z）。

2.22准确度

内标校准：平均误差 ≤ 0.8 ppm(tuning mix  m/z 1221.990637 测量30张图谱)

外标校准：平均误差 ≤ 2 ppm（tuning mix  m/z 1221.990637 测量10张图谱)

2.23 不需要利用第二个喷雾器进行实时质量轴校正

2.24 同位素丰度真实值与理论值比率偏差(用TOF-MS Tuning Mix m/z=622、922、1522测试)：＜2%

*2.25 采样频率：

QTOF模式：MS和MS/MS 最高可达50 Hz；

蛋白质组学模式：MS/MS ≥ 250 Hz

2.26 质量范围： 高达20,000 m/z，可由软件自动设定

2.27 采集模式：全4D-采集模式（dda, dia, prm）

2.28灵敏度： MS：1pg/uL利血平（m/z 609），信噪比>100: 1 RMS。全扫描MS/MS模式：消耗量为2.5fmol多肽Glu-Fibrinopeptide B时，二价离子的碎片离子y’中最强峰信号大于100，即信噪比≥100:1。

2.29 成像工作站：配置不低于以下参数：96核处理，1TB内存，NVIDIA RTX 4080显卡，4TB NVMe，50TB存储极高性能工作站，32寸 4K分辨率显示器

3. 安装、验收、调试、培训、及售后等要求

3.1仪器到货后，供应商需在接到买方通知后1周内进行现场免费安装、调试设备；供应商逾期供货或安装或调试，都须对用户进行赔偿补偿，具体赔偿金额由双方协商解决。供应商必须完成所有相关产品的安装调试工作，提供所有安装调试所需的货物、服务、工程，要求到达安全及其相关规范要求，安装调试的所需相关工具等自行提供。

3.2验收方式：货物到达现场后，由供方负责开箱，供需双方人员在场，共同清点、检查外观，作出开箱记录，进行数量验收，供应商应提供完备的技术资料、装箱单等资料。安装调试结束后一个月内，由供方提出书面验收申请，需方按照国家及行业相关标准以及合同规定进行最终验收。

3.3验收标准：技术指标的验收以标书或技术协议要求的规格参数为依据，在买方对主机、附件、软件的性能和功能进行测试合格基础上，由买方授权人签字验收。

3.4如验收前发生故障，需维修后方可验收，同时供应商应书面承诺质保期如发生同样故障时，将免费维修，对于同一部位出现2次以上故障，应免费更换该部件。

3.5如果由于仪器本身原因而在120个工作日内调试没有通过，可返厂维修，或更换一套新的相同型号或符合技术性能的仪器设备。

3.6返厂维修周期不得超过4个月，次数不得超过2次，否则必须更换一套新的相同型号或符合技术性能的仪器设备。特殊仪器设备可延长调试时间。

3.7资料:供应商能够提供的全部技术资料，包括合同签订后提供设备的预安装要求说明书；随机提供产品使用说明书和维护说明书；随机提供完整的产品验收说明书。

3.8培训：培训开始时间安排在货到现场的4周内进行，培训次数不低于2次。需提供系统培训，现场基础安装培训和正式培训班名额不低于3个。仪器安装完成后安装调试人员应在现场就仪器的使用及维护对用户进行现场培训。安装验收期间，在用户指定地对用户进行仪器操作和日常维护的现场培训，包括仪器原理、使用方法、维护方法、软件的高级用户使用等；仪器安装验收后，提供应用专家免费现场培训至买方技术人员可独立操作，内容包括但不限于仪器设备的高级应用培训。培训人员应由原厂或原厂指定的服务机构负责。质保期内，每年需提供不少于2次原厂培训。培训方式为按招标单位要求指派原厂专业应用工程师在用户所在地对用户进行为期3天的免费培训，人数不限。培训内容分成2部分（质谱成像及代谢组学，分2次安排）：包括仪器的技术原理、操作、数据处理、基本维护、样品测试的方法设置、软件设置及技术支持。

*3.9售后服务：质保期限为产品安装调试并验收合格后5年。质保期内，每年需提供1次免费的仪器全面检查，并出具正式报告，如发现潜在问题，应负责排除。质保期内免费更换损坏零件和上门服务。供应商在提交响应文件时，须自行承诺在签订合同前提供制造商针对本项目的售后服务承诺书。供应商应提供详细的质量保证措施、相关技术文档及产品使用手册等。在质保期内发现的由于货物本身的原因造成故障或损坏，成交供应商应免费修复，无法修复的应免费更换。质保期内，除人为损坏和不可抗拒的自然因素损坏以及属于消耗品的铜垫圈、灯丝外，维修、更换等所需一切支出（包括技术人员旅费等支出）由成交供应商负责；质保期后应保证有充足的备件供应，成交供应商应对其产品提供终身技术服务、维修，更换只向采购人收取维修服务中所用的材料成本费，不收取人工费。在用户和仪器设备技术人员双方确认仪器设备的各项技术指标均达到要求且运行正常后，方可对仪器设备进行验收。

3.10保修期内软硬件出现问题，应在接到用户通知后24小时予以解决方案，2个工作日内到达现场解决问题。

3.11仪器发生重大问题或其他无法立刻解决的问题应在一周内解决或提出明确解决方案，如因供应商原因不能及时修复，保修期将相应顺延。

3.12软件升级在硬件支持的前提下，应用软件终生免费升级。

3.13质保期过后，供货方应继续提供终生应用技术支持和维修服务，并承诺保证不短于10年的零配件供应。

3.14支付方式：合同签订后90天内，由买方开立以卖方为收益人的100％经卖方确认的不可撤销信用证，其中合同总价的90%，凭货物发运单据议付；最终验收合格后30天内，支付合同总价的10%。

3.15 提供终生免费移机服务一次（费用包含但不限于拆机、打包、装机、调试、培训、保险等），移机后须确保设备性能符合原出厂标准，并提供移机验收报告。